QUBIO File Formats

File format descriptions utilize a [fileposition,length] notation or [+offset,length] notation.  Strings written to the config file have a 4 byte integer length (+1 for a trailing 0),  followed by the string contents including a trailing 0.  Arrays are written with no intermediate separators or terminators since the number of elements is already written.

Qubio.cfg –Configuration

The files contain a list of hardware configurations and other system configuration info.

[0, 4] :  		QCNF

[4,4] : 		int version #

[8, 4] : 		int HLPOS = Position of hardware list

[12,4] : 		int Number of configurations

[16,4] : 		int SETPOS = position of settings info

[…]		-- additional pointers may be inserted here --

[HLPOS,  … ]	Array of configurations  {

String – Config name

String – Device name

Int – Number of acquisition channels

Array of channels {

Int - Active flag ( 0 or 1 )

String - channel name

Double - Gain setting

String – units

Double - Scaling setting

}

Int – Number of generation channels

Array of channels {

Int - Active flag ( 0 or 1 )

String - channel name

Double - Gain setting

String – units

Double - Scaling setting

}

}

[SETPOS, … ]	int Settings version #

String – config name

String – Acq File name

int Buffer Size

int Rate

String DataNotes

bool ScrollingView

bool Time separator

*.qpr – protocol  : This file type contains a protocol definition.

[0,4]	int version #

[4,4]	int iterations

[8,8]	double YMin

[16,8]	double YMax

[24,4]	int Segment Count

[28,1]	bool Random Flag

[29, … ]	Array of Segments {

int Duration

double ‘u’ value

double ‘v’ value

bool Modifiable Flag

String Function expression

}

*.qsn  - Session  :  This file type contains a session definition.